## Version
Version | Description | Fix | Unit Test Complete | Bug Link
2 | Rollout |  |  | N/A
2.1 | Anchor Guys does not have the correct symbol | Change FME mapping for EEA and EEJA to block from point |  | Bug 11290
2.1 | Removed substation anno. Using labeling of the substationboundary feature
2.1 | Added # to JP label on Anchorguy |  |  | Bug 11305
2.1 | Added JPANUMBER, JPASEQUENCE to EEJA
2.2 | Changed SecUGConductor.subtypecd = '2' from eeso3-1 to eesu3-1
2.2 | Removed Primary OH and UG Cir Anno | This was re-purposed from its initial requirement in GIS and does not relate to ED Master any longer
2.2 | Removed mapping (shown in RED) for Job History Note |  |  | Bug 11445

## eder-symbols
FeatureClass | Attributes | Symbol (linestyle or block) blue indicates block exists | Symbol Picture | Text Size | Attributes | LabelAttributes | Block Created | Unit Tested | OID Tested | Unit Test Area (optional) | Comment |  | Unit Tested | OID Tested | Unit Test Area (optional) | Comment
AnchorGuy | JOINTOWNED='Y' | EEJA |  | LABEL .75 of existing | OBJECTID, GLOBALID, JPANUMBER, JPASEQUENCE | Function FindLabel ( [JPANUMBER] , [JPASEQUENCE]) if len( [JPANUMBER] & "s") = 1 then else jpseq = "" if len([JPASEQUENCE]) > 0 then jpseq = "-" & [JPASEQUENCE] end if FindLabel = "JP#" & [JPANUMBER] & jpseq end if End Function | Yes |  | 822 | AGY | Symbol not coming through, point |  | drpn | 426 | 2424367 13818898 2424367 13819230 2424912 13819230 2424912 13818898 2424367 13818898
AnchorGuy | JOINTOWNED='N' | EEA |  |  | OBJECTID, GLOBALID |  | Yes | [6 empty] | 427 | 2424367 13818898 2424367 13819230 2424912 13819230 2424912 13818898 2424367 13818898
AnchorGuy | Default | EEADEFAULT |  |  | OBJECTID, GLOBALID |  | JED
Antenna |  | EEANT
CapacitorBank | SYMBOLNUMBER = '2', INSTALLATIONTYPE = 'OH' | EECAPOH |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | JED | jed | 187 | VR61 |  |  |  | 2 | 2301305 13880529 2301305 13881383 2302938 13881383 2302938 13880529 2301305 13880529
CapacitorBank | SYMBOLNUMBER = '2', INSTALLATIONTYPE <> 'OH' | EEPMCAP |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | (dup) |  |  |  | Leave as-is -- NO CHANGE
CapacitorBank | SYMBOLNUMBER = '101', INSTALLATIONTYPE = 'OH' | EECAPSUPOH |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | JED | [6 empty] | 4692 | 2590919 13360149 2590919 13360363 2591269 13360363 2591269 13360149 2590919 13360149 | Wrong shape in ArcMap according to Don
CapacitorBank | SYMBOLNUMBER = '101', INSTALLATIONTYPE <> 'OH' | EEMCAPSUPUG |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | JED | [6 empty] | No Features
CapacitorBank | SYMBOLNUMBER = '3', INSTALLATIONTYPE = 'OH' | EECAPOH |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | (dup) |  |  |  | Verify there are no SymbolNumbers -- DONE |  |  | 571 | 2159208 13769053 2159208 13769290 2159597 13769290 2159597 13769053 2159208 13769053
CapacitorBank | SYMBOLNUMBER = '3', INSTALLATIONTYPE <> 'OH' | EEPMCAP |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | Yes | [6 empty] | 277 | 2098214 13693042 2098214 13693232 2098525 13693232 2098525 13693042 2098214 13693042
CapacitorBank | SYMBOLNUMBER = '4', INSTALLATIONTYPE = 'OH' | EECAPSUPOH |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | (dup) | [6 empty] | 71 | 2235334 13493323 2235334 13493560 2235723 13493560 2235723 13493323 2235334 13493323 | ??Offset is wrong
CapacitorBank | SYMBOLNUMBER = '4', INSTALLATIONTYPE <> 'OH' | EEMCAPSUPUG |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | (dup) | [6 empty] | No Features
CapacitorBank | SYMBOLNUMBER = '6', INSTALLATIONTYPE = 'OH' | EESCAPOH |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | JED | [6 empty] | No Features
CapacitorBank | SYMBOLNUMBER = '6', INSTALLATIONTYPE <> 'OH' | EESCAP |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | Yes | [6 empty] | No Features
CapacitorBank |  | EECAPDEFAULT |  |  |  |  | JED | [6 empty] | Can't find Features
CapacitorBankAnno | ANNO | ANNO |  | 0.75 of existing
CommunicationConnector | NEED TO CHECK WITH ROBERT
CommunicationSplice | NEED TO CHECK WITH ROBERT
ConduitSystem |  | EEDU | [11 empty] | 1 | 2220006 13732811 2220006 13733000 2220317 13733000 2220317 13732811 2220006 13732811
ConduitSystem | DeactivatedIDC = 'Y' | EEDUD | [11 empty] | 1 | 2220006 13732811 2220006 13733000 2220317 13733000 2220317 13732811 2220006 13732811
ConduitSystemAnno | ANNO | ANNO
CrossSectionAnno | hold for now based on conversation with Robert | hold for now based on conversation with Robert
CustAgreeNumberAnno | ANNO | ANNO
CustomerAgreementNumber |  | eemlx |  |  |  |  | JED | [6 empty] | 1 | 2235735 13703773 2235735 13703962 2236047 13703962 2236047 13703773 2235735 13703773
DCConductor | Construction Type = 4 | eedcosec |  |  |  |  | JED |  |  |  | Width 0.85. Why did this change? Nick decided that green was too similar to existing conductor lines (UG secondary) |  |  | No Features
DCConductor | Construction Type = 6 | eedcosv |  |  |  |  | JED |  |  |  | Width 0.4 |  |  | No Features
DCConductor | Construction Type = 5 | eedcusec |  |  |  |  | JED |  |  |  | Width 0.5 |  |  | No Features
DCConductor | Construction Type = 7 | eedcusv |  |  |  |  | JED |  |  |  | Width 0.5, color: mango |  |  | No Features
DCConductor | Default | EEDCDEFAULT |  |  |  |  | JED |  |  |  | color: Electron Gold. How does this get incorporated into training? Kenny Kwong will follow up
DCRectifier | Default | EEDCREC |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | JED | [6 empty] | 1 | 2621061 13385652 2621061 13385781 2621272 13385781 2621272 13385652 2621061 13385652
DCRectifierAnno | ANNO | ANNO |  | 0.75 of existing
DeviceGroupAnno | ANNO | ANNO |  | 0.75 of existing
DeviceGroup | DEVICEGROUPTYPE = '1' and SUBTYPECD = '3' or DEVICEGROUPTYPE = '16' and SUBTYPECD = '3' or DEVICEGROUPTYPE = '19' and SUBTYPECD = '3' or DEVICEGROUPTYPE = '2' and SUBTYPECD = '3' or DEVICEGROUPTYPE = '20' and SUBTYPECD = '3' or DEVICEGROUPTYPE = '21' and SUBTYPECD = '3' or DEVICEGROUPTYPE = '22' and SUBTYPECD = '3' or DEVICEGROUPTYPE = '23' and SUBTYPECD = '3' or DEVICEGROUPTYPE = '24' and SUBTYPECD = '3' or DEVICEGROUPTYPE = '25' and SUBTYPECD = '3' or DEVICEGROUPTYPE = '26' and SUBTYPECD = '3' or DEVICEGROUPTYPE = '28' and SUBTYPECD = '3' or DEVICEGROUPTYPE = '29' and SUBTYPECD = '3' or DEVICEGROUPTYPE = '30' and SUBTYPECD = '3' or DEVICEGROUPTYPE = '31' and SUBTYPECD = '3' or DEVICEGROUPTYPE = '32' and SUBTYPECD = '3' or DEVICEGROUPTYPE = '33' and SUBTYPECD = '3' or DEVICEGROUPTYPE = '34' and SUBTYPECD = '3' or DEVICEGROUPTYPE = '35' and SUBTYPECD = '3' or DEVICEGROUPTYPE = '36' and SUBTYPECD = '3' or DEVICEGROUPTYPE = '37' and SUBTYPECD = '3' or DeviceGroupType = '16' and SUBTYPECD = '3' or DeviceGroupType = '17' and SUBTYPECD = '3' | eedg162 |  |  | OBJECTID, GLOBALID, DEVICEGROUPNAME |  | changed hatching (fill) to black instead of white | jed | 217701 | VR60 |  |  |  | 38132 | 2812758 12845426 2812758 12845734 2813337 12845734 2813337 12845426 2812758 12845426
DeviceGroup | DEVICEGROUPTYPE = '18' and SUBTYPECD = '3' or DEVICEGROUPTYPE = '20' and SUBTYPECD = '2' or DEVICEGROUPTYPE = '21' and SUBTYPECD = '2' or DEVICEGROUPTYPE = '22' and SUBTYPECD = '2' or DEVICEGROUPTYPE = '23' and SUBTYPECD = '2' or DEVICEGROUPTYPE = '24' and SUBTYPECD = '2' or DEVICEGROUPTYPE = '27' and SUBTYPECD = '3' or DEVICEGROUPTYPE = '3' and SUBTYPECD = '3' or DEVICEGROUPTYPE = '38' and SUBTYPECD = '3' | eedg208 |  |  | OBJECTID, GLOBALID, DEVICEGROUPNAME |  | JED | [6 empty] | 79 | 2152552 13731460 2152552 13731649 2152863 13731649 2152863 13731460 2152552 13731460
DeviceGroup | DEVICEGROUPTYPE = '4' and SUBTYPECD = '3' or DEVICEGROUPTYPE = '39' and SUBTYPECD = '3' | eedg216 |  |  | OBJECTID, GLOBALID, DEVICEGROUPNAME |  | JED | [6 empty] | 13518 | 2114837 13822757 2114837 13822961 2115171 13822961 2115171 13822757 2114837 13822757
DeviceGroup | DEVICEGROUPTYPE = '5' and SUBTYPECD = '3' or DEVICEGROUPTYPE = '40' and SUBTYPECD = '3' | eedg218 |  |  | OBJECTID, GLOBALID, DEVICEGROUPNAME |  | JED | [6 empty] | 1234 | 2098798 13711162 2098798 13711399 2099187 13711399 2099187 13711162 2098798 13711162
DeviceGroup | DEVICEGROUPTYPE = '6' and SUBTYPECD = '3' or DEVICEGROUPTYPE = '41' and SUBTYPECD = '3' or DEVICEGROUPTYPE = '28' and SUBTYPECD = '2' | eedg220 |  |  | OBJECTID, GLOBALID, DEVICEGROUPNAME |  | JED | [6 empty] | 418 | 2234653 13709888 2234653 13710125 2235042 13710125 2235042 13709888 2234653 13709888
DeviceGroup | DEVICEGROUPTYPE = '7' and SUBTYPECD = '3' or DEVICEGROUPTYPE = '8' and SUBTYPECD = '3' or DEVICEGROUPTYPE = '14' and SUBTYPECD = '3' or DEVICEGROUPTYPE = '42' and SUBTYPECD = '3' | eedg222 |  |  | OBJECTID, GLOBALID, DEVICEGROUPNAME |  | JED |  | 184497 | SW29 |  |  |  | 75 | 2316836 13796555 2316836 13796792 2317225 13796792 2317225 13796555 2316836 13796555
DeviceGroup | DEVICEGROUPTYPE = '9' and SUBTYPECD = '3' or DEVICEGROUPTYPE = '15' and SUBTYPECD = '3' or DEVICEGROUPTYPE = '43' and SUBTYPECD = '2' | eedg224 |  |  | OBJECTID, GLOBALID, DEVICEGROUPNAME |  | JED |  | 22940 | SW100 |  |  |  | 3721 | 2158477 13723862 2158477 13724099 2158866 13724099 2158866 13723862 2158477 13723862
DeviceGroup | DEVICEGROUPTYPE = '10' and SUBTYPECD = '3' or DEVICEGROUPTYPE = '44' and SUBTYPECD = '3' | eedg226 |  |  | OBJECTID, GLOBALID, DEVICEGROUPNAME |  | JED | [6 empty] | 24262 | 2369917 13566632 2369917 13566845 2370268 13566845 2370268 13566632 2369917 13566632
DeviceGroup | DEVICEGROUPTYPE = '11' and SUBTYPECD = '3' or DEVICEGROUPTYPE = '45' and SUBTYPECD = '3' | eedg228 |  |  | OBJECTID, GLOBALID, DEVICEGROUPNAME |  | JED | [6 empty] | 13303 | 2118511 13820394 2118511 13820583 2118822 13820583 2118822 13820394 2118511 13820394
DeviceGroup | DEVICEGROUPTYPE = '12' and SUBTYPECD = '3' or DEVICEGROUPTYPE = '46' and SUBTYPECD = '3' | eedg230 |  |  | OBJECTID, GLOBALID, DEVICEGROUPNAME |  | JED | [6 empty] | 5380 | 2129819 13728056 2129819 13728245 2130130 13728245 2130130 13728056 2129819 13728056
DeviceGroup | DEVICEGROUPTYPE = '13' and SUBTYPECD = '3' or DEVICEGROUPTYPE = '47' and SUBTYPECD = '3' or DEVICEGROUPTYPE = '25' and SUBTYPECD = '2' or DEVICEGROUPTYPE = '26' and SUBTYPECD = '2' or DEVICEGROUPTYPE = '27' and SUBTYPECD = '2' | eedg232 |  |  | OBJECTID, GLOBALID, DEVICEGROUPNAME |  | JED | [6 empty] | 6 | 2094672 13702135 2094672 13702325 2094983 13702325 2094983 13702135 2094672 13702135
DeviceGroup | DEVICEGROUPTYPE = '1' and SUBTYPECD = '2' or DEVICEGROUPTYPE = '4' and SUBTYPECD = '2' or DEVICEGROUPTYPE = '9' and SUBTYPECD = '2' | eedg69-21_5 |  |  | OBJECTID, GLOBALID, DEVICEGROUPNAME |  | JED |  | 65146 | X39 |  |  |  | 2 | 2096482 13701644 2096482 13701833 2096794 13701833 2096794 13701644 2096482 13701644
DeviceGroup | DEVICEGROUPTYPE = '2' and SUBTYPECD = '2' or DEVICEGROUPTYPE = '32' and SUBTYPECD = '2' | eedg69_2 |  |  | OBJECTID, GLOBALID, DEVICEGROUPNAME |  | JED |  | No features |  |  |  |  | No Features
DeviceGroup | DEVICEGROUPTYPE = '11' and SUBTYPECD = '2' or DEVICEGROUPTYPE = '16' and SUBTYPECD = '2' or DEVICEGROUPTYPE = '17' and SUBTYPECD = '2' or DEVICEGROUPTYPE = '18' and SUBTYPECD = '2' or DEVICEGROUPTYPE = '19' and SUBTYPECD = '2' or DEVICEGROUPTYPE = '3' and SUBTYPECD = '2' or DEVICEGROUPTYPE = '30' and SUBTYPECD = '2' or DEVICEGROUPTYPE = '31' and SUBTYPECD = '2' or DEVICEGROUPTYPE = '5' and SUBTYPECD = '2' or DEVICEGROUPTYPE = '6' and SUBTYPECD = '2' or DEVICEGROUPTYPE = '8' and SUBTYPECD = '2' or DEVICEGROUPTYPE = '15' and SUBTYPECD = '2' | eedg69-30 |  |  | OBJECTID, GLOBALID, DEVICEGROUPNAME |  | JED | [6 empty] | 33 | 2093823 13695179 2093823 13695369 2094134 13695369 2094134 13695179 2093823 13695179
DeviceGroup | DEVICEGROUPTYPE = '12' and SUBTYPECD = '2' or DEVICEGROUPTYPE = '13' and SUBTYPECD = '2' or DEVICEGROUPTYPE = '14' and SUBTYPECD = '2' or DEVICEGROUPTYPE = '7' and SUBTYPECD = '2' | eedg69-28 |  |  | OBJECTID, GLOBALID, DEVICEGROUPNAME |  | JED |  | 13991 | SW100 |  |  |  | 8 | 2153271 13734206 2153271 13734396 2153583 13734396 2153583 13734206 2153271 13734206
DeviceGroup | DEVICEGROUPTYPE = '10' and SUBTYPECD = '2' | eedg69-25 |  |  | OBJECTID, GLOBALID, DEVICEGROUPNAME |  | JED |  | 416 | SW31 |  |  |  | 71 | 2161133 13734530 2161133 13734720 2161444 13734720 2161444 13734530 2161133 13734530
DeviceGroup | DEVICEGROUPTYPE = '29' and SUBTYPECD = '2' | eedg69-20 |  |  | OBJECTID, GLOBALID, DEVICEGROUPNAME |  | JED |  | 49541 | X45 |  |  |  | 19 | 2162021 13722226 2162021 13722416 2162333 13722416 2162333 13722226 2162021 13722226
DeviceGroup | DEVICEGROUPTYPE='30' and SUBTYPECD=2 |  |  |  | OBJECTID, GLOBALID, DEVICEGROUPNAME | [5 empty] | 4KV Junction. Use EEDG69-20, not the GIS Symbol:
DeviceGroup | DEVICEGROUPTYPE='33' and SUBTYPECD=2 |  | <NOSYMBOL> | [7 empty] | Why is this a feature? They exist in downtown SF but no-one knew what the symbol for them was – we deferred it as a bay issue (19086 assigned to DA). Leave as default for now.
DeviceGroup | Default | EEDGDEFAULT |  |  |  |  | JED |  |  | x45??3,17 - 162 in Arc
DistBusBar | SUBTYPECD=1 (Primary) | EEPRIBUS |  |  |  |  | JED |  |  |  | Leave as-is |  |  | 1 | 2160068 13724023 2160068 13724213 2160380 13724213 2160380 13724023 2160068 13724023
DistBusBar | SUBTYPECD=2 (Secondary) | EESECBUS | <NOSYMBOL> | [7 empty] | Filter out of DWG
Duct | UFM
DuctBank | UFM
DuctConnector | UFM
DynamicProtectiveDevice | SYMBOLNUMBER = '9' or (SYMBOLNUMBER IS NULL AND SUBTYPE = 2) | EESSINT |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | Yes | [5 empty] | jed | 69985 | DPD9
DynamicProtectiveDevice | SYMBOLNUMBER = '10' | EESSINTSUP |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | JED | [6 empty] | 2724 | 2827862 12835523 2827862 12835760 2828251 12835760 2828251 12835523 2827862 12835523
DynamicProtectiveDevice | SYMBOLNUMBER = '11' or (SYMBOLNUMBER IS NULL AND SUBTYPE = 3) | EERC |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | Yes | [5 empty] | jed | 373 | DPD11
DynamicProtectiveDevice | SYMBOLNUMBER = '12' | EERC |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | (dup) | [6 empty] | 409
DynamicProtectiveDevice | SYMBOLNUMBER = '13' | EERCSUP |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | JED | [5 empty] | jed | 3420 | DPD13
DynamicProtectiveDevice | SYMBOLNUMBER = '14' | EERCSUP |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | (dup)
DynamicProtectiveDevice | SYMBOLNUMBER = '98' | EERC |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | (dup) | [6 empty] | 1 | 2234705 13910559 2234705 13910891 2235250 13910891 2235250 13910559 2234705 13910559
DynamicProtectiveDevice | SYMBOLNUMBER = '102' | EERCSUP |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | (dup)
DynamicProtectiveDevice | SYMBOLNUMBER = '97' | EERCCPX |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | JED | [5 empty] | jed | 949 | DPD97
DynamicProtectiveDevice | SYMBOLNUMBER = '103' | EERCSUPFLS |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | JED |  | No features |  |  |  |  | No Features
DynamicProtectiveDevice | SYMBOLNUMBER = '104' or (SYMBOLNUMBER IS NULL AND SUBTYPE = 8) | EESEC |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | Yes |  | No features |  |  |  |  | No Features
DynamicProtectiveDevice | SYMBOLNUMBER = '105' | EESECSUP |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | JED |  | No features |  |  |  |  | No Features
DynamicProtectiveDevice | SYMBOLNUMBER = '106' | EESECSUPFLSR |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | JED |  | No features |  |  |  |  | No Features
DynamicProtectiveDevice | SYMBOLNUMBER = '107' | EECSW |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | Yes |  | No features |  |  |  |  | No Features
DynamicProtectiveDevice | SYMBOLNUMBER = '108' | EECSWSUP |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | Yes |  | No features |  |  |  |  | No Features
DynamicProtectiveDevice | SYMBOLNUMBER = '109' | EESWSUPFLSR |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | JED |  | No features |  |  |  |  | No Features
DynamicProtectiveDevice | SYMBOLNUMBER = '110' | EERCSUPFLSR |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | (dup) |  | No features |  |  |  |  | No Features
DynamicProtectiveDevice | SYMBOLNUMBER = '111' | EESEC |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | Yes |  | No features |  |  |  |  | No Features
DynamicProtectiveDevice | SYMBOLNUMBER = '112' | EESECSUP |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | (dup) |  | No features |  |  |  |  | No Features
DynamicProtectiveDevice | SYMBOLNUMBER = '113' | EESECSUPFLSR |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | (dup) |  | No features |  |  |  |  | No Features
DynamicProtectiveDevice | SYMBOLNUMBER = '114' | EECSW |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | (dup) |  | No features |  |  |  |  | No Features
DynamicProtectiveDevice | SYMBOLNUMBER = '115' | EECSWSUP |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | (dup) |  | No features |  |  |  |  | No Features
DynamicProtectiveDevice | SYMBOLNUMBER = '116' | EESWSUPFLSR |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | (dup) |  | No features |  |  |  |  | No Features
DynamicProtectiveDevice | SYMBOLNUMBER = '117' | EERCSUPFLSR |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | (dup) | [5 empty] | jed | 2594 | DPD117
DynamicProtectiveDevice | SYMBOLNUMBER = '118' | EESECCPX |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | JED |  | No features |  |  |  |  | No Features
DynamicProtectiveDevice | SYMBOLNUMBER = '119' | EESWCPX |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | JED |  | No features |  |  |  |  | No Features
DynamicProtectiveDevice | SYMBOLNUMBER = '120' | EESEC |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | (dup) |  | No features |  |  |  |  | No Features
DynamicProtectiveDevice | SYMBOLNUMBER = '121' | EESECSUP |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | (dup) |  | No features |  |  |  |  | No Features
DynamicProtectiveDevice | SYMBOLNUMBER = '122' | EESECSUPFLSR |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | (dup) |  | No features |  |  |  |  | No Features
DynamicProtectiveDevice | SYMBOLNUMBER = '123' | EECSW |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | (dup) |  | No features |  |  |  |  | No Features
DynamicProtectiveDevice | SYMBOLNUMBER = '124' | EECSWSUP |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | (dup) |  | No features |  |  |  |  | No Features
DynamicProtectiveDevice | SYMBOLNUMBER = '125' | EESWSUPFLSR |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | (dup) |  | No features |  |  |  |  | No Features
DynamicProtectiveDevice | SYMBOLNUMBER = '16' | EESEC |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | (dup) | [6 empty] | 2886 | DPD16
DynamicProtectiveDevice | SYMBOLNUMBER = '32' | eescmsecsup |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | JED |  | No features |  |  |  |  | No Features
DynamicProtectiveDevice | Default | EEDPDDEFAULT |  |  |  |  | JED
DynamicProtectiveDeviceAnno | ANNO | ANNO |  | 0.75 of existing
DynamicProtectiveDeviceAnno | ANNO | ANNO |  | 0.75 of existing
DynamicProtectiveDeviceAnno | ANNO | ANNO |  | 0.75 of existing
ElectricConnector | UFM
ElectricStitchPoint | subtypecd = '2' | eesub |  |  | OBJECTID, GLOBALID, CIRCUITID | right(circuitid, 4) | Yes | [6 empty] | 2 | 2130452 13795852 2130452 13796108 2130873 13796108 2130873 13795852 2130452 13795852
FailedEquipment | not in GIS
FaultIndicator |  | eeohfi |  |  | OBJECTID, GLOBALID |  | Yes |  | 7876 | SW28 |  |  |  | 7285 | 2596933 13350786 2596933 13350893 2597109 13350893 2597109 13350786 2596933 13350786
FaultIndicatorAnno | ANNO | ANNO |  | 0.75 of existing
FaultLocation | not in GIS
FEATURENOTE |  | eefeatnote |  |  | OBJECTID, GLOBALID, COMMENTS | COMMENTS | JED | jed | 607 | VR66 |  |  |  | 1 | 2214667 13724753 2214667 13725085 2215212 13725085 2215212 13724753 2214667 13724753
Fuse | subtypecd = '1' | eeco |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | yes | jed | 11987 | VR68 |  |  |  | 34627 | 2812718 12845426 2812718 12845734 2813337 12845734 2813337 12845426 2812718 12845426
Fuse | subtypecd = '2', complexdeviceidc = 'N' | eefuug |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | JED |  | 36969 | SW28
Fuse | subtypecd = '2', complexdeviceidc = 'Y' | eefuugcpx |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | JED |  | 1788 | SW100
Fuse | Default | EEFUDEFAULT |  |  |  |  | JED
FuseAnno | ANNO | ANNO |  | 0.75 of existing
FuseAnno | ANNO | ANNO |  | 0.75 of existing
FuseAnno | ANNO | ANNO |  | 0.75 of existing
JobHistoryNote |  | eejobhistnote |  |  | OBJECTID, GLOBALID |  | Yes
JobNumberAnno | ANNO | ANNO |  | 0.75 of existing
NeutralConductor | subtypecd = '1' | eeneuoh |  |  |  |  | JED
NeutralConductor | subtypecd = '2' | eeneuug |  |  |  |  | JED
NeutralConductor | Default | EENEUDEFAULT |  |  |  |  | JED
NeutralConductorAnno | ANNO | ANNO |  | 0.75 of existing
OpenPoint | subtypecd = '1' | ee200lbj |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | Yes |  | 50165 | X45 |  |  |  | 2 | 2156738 13719555 2156738 13719886 2157283 13719886 2157283 13719555 2156738 13719555
OpenPoint | subtypecd = '2', ratedamps <> '600' | eecn200 |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | Yes |  | ??2844 | SW31 -ratedamp null DEFAULT symbol in Arc
OpenPoint | subtypecd = '2', ratedamps = '600' | eecn600 |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | Yes |  | 43866 | X45
OpenPoint | subtypecd = '3', ratedamps = '0' | eesecop |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | Yes |  |  |  | Size: 10
OpenPoint | subtypecd = '4', ratedamps = '0' | eepop |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | Yes | [6 empty] | 7004 | 2057565 13727019 2057565 13727256 2057954 13727256 2057954 13727019 2057565 13727019 | resize/test
OpenPoint | subtypecd = '9', ratedamps = '0' | eecc |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | Yes
OpenPoint | subtypecd = '5', ratedamps is null | eespldb |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | Yes
OpenPoint | subtypecd = '6', ratedamps is null | eeopterm |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | JED |  | No features |  |  |  |  | No Features
OpenPoint | subtypecd = '7', ratedamps = '200' | ee200optee |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | JED | [6 empty] | 191898 | 2858276 12876865 2858276 12877102 2858666 12877102 2858666 12876865 2858276 12876865
OpenPoint | subtypecd = '7', ratedamps = '600' | ee600optee |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | JED
OpenPoint | subtypecd = '8', ratedamps is null | eeopsj |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | JED
OpenPoint | subtypecd = '10', ratedamps is null | eelimit |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | JED
OpenPoint | subtypecd='11' | <NoSymbol> | [8 empty] | Size: 14. What is a Pseudo Open Point? A Pseudo Open Point is not a real-world feature. It's used in the GIS to disconnect linear sections in the case of loops. I suggest we filter these out of the DWG.
OpenPoint | subtypecd='12' | EETEECON | [8 empty] | Size: 2. Do not bring across. “Tee” Connector is an actual field object, a non-limiter type connection. PGE has not decided the symbol for this yet. Will put the mapping in for this but output it to a null symbol (nothing) for now.
OpenPoint | Default | EEOPDEFAULT |  |  |  |  | JED
Outage | not in GIS
PadmountStructure | subtypecd = '1', jointuseidc = 'NA' | EEPAD |  |  | OBJECTID, GLOBALID, STRUCTURENUMBER |  | Yes | jed | 39259 | VR60 |  |  |  | 138 | 2255926 13739396 2255926 13739728 2256471 13739728 2256471 13739396 2255926 13739396
PadmountStructure | subtypecd = '2', jointuseidc = 'N' | eespedc |  |  | OBJECTID, GLOBALID, STRUCTURENUMBER |  | Yes |  | 9608 | SW100
PadmountStructure | subtypecd = '2' jointuseidc = 'Y' | eespedj |  |  | OBJECTID, GLOBALID, STRUCTURENUMBER |  | Yes
PadmountStructure | Default | EEPADDEFAULT |  |  |  |  | Yes
PrimaryGeneration | subtypecd = '1' | eebgen |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | JED
PrimaryGeneration | subtypecd = '3' | eecgen |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | Yes
PrimaryGeneration | subtypecd = '2' | eegen |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | Yes
PrimaryGeneration | Default | EEPGDEFAULT |  |  |  |  | JED
PrimaryGenerationAnno | ANNO | ANNO |  | 0.75 of existing
PrimaryMeter |  | eepm |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | Yes
PrimaryRiser |  | eeriser |  |  | OBJECTID, GLOBALID |  | Yes |  | 90404 | SW29 |  |  | jed | 3253 | DPD
PrimaryVoltageDistrict | landbase needs definition
PriOHConductor | subtypecd = '1' or subtypecd = '2' | eepo1-1
PriOHConductor | subtypecd = '3' | eepo3 | [11 empty] | 523300 | 2812758 12845426 2812758 12845734 2813337 12845734 2813337 12845426 2812758 12845426
PriOHConductor | Default | EEPODEFAULT |  |  |  |  | JED
PriOHConductorAnno | ANNO | ANNO |  | 0.75 of existing
PriOHConductorAnno | ANNO | ANNO |  | 0.75 of existing
PriOHConductorCirAnno | ANNO | ANNO |  | 0.75 of existing
PriUGConductor | subtypecd = '1' or subtypecd = '2' | eepu1-1
PriUGConductor | subtypecd = '3' | eepu3 | [11 empty] | 83128 | 2812758 12845426 2812758 12845734 2813337 12845734 2813337 12845426 2812758 12845426
PriUGConductor | Default | EEPUDEFAULT |  |  |  |  | JED
PriUGConductorAnno | ANNO | ANNO |  | 0.75 of existing
PriUGConductorAnno | ANNO | ANNO |  | 0.75 of existing
PriUGConductorCirAnno | ANNO | ANNO |  | 0.75 of existing
SecOHConductor | subtypecd = '3' | EESVO
SecOHConductor | subtypecd = '2' | eeso3-1
SecOHConductor | subtypecd = '1' | eeso1-1 | [11 empty] | 451292 | 2098214 13693042 2098214 13693232 2098525 13693232 2098525 13693042 2098214 13693042
SecOHConductor | subtypecd = '4' | eeslo
SecOHConductor | subtypecd <> 5 | EESODEFAULT |  |  |  |  | JED
SecOHConductorAnno | ANNO | ANNO |  | 0.75 of existing
SecOHConductorAnno | ANNO | ANNO |  | 0.75 of existing
SecondaryGeneration | subtypecd = '1' | eebgen |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | (dup)
SecondaryGeneration | subtypecd = '3' | eecgen |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | (dup) | [6 empty] | 1 | 2155515 13731573 2155515 13731857 2155982 13731857 2155982 13731573 2155515 13731573
SecondaryGeneration | subtypecd = '2' | eedistgen |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | JED
SecondaryGeneration | Default | EESGDEFAULT |  |  |  |  | JED
SecondaryGenerationAnno | ANNO | ANNO |  | 0.75 of existing
SecondaryLoadPoint |  | eeseclp |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | JED
SecondaryRiser |  | eeriser |  |  | OBJECTID, GLOBALID |  | (dup)
SecUGConductor | subtypecd = '5' | eesu1-1
SecUGConductor | subtypecd = '3' or subtypecd = '7' | EESVU
SecUGConductor | subtypecd = '1' | eesu1-1 | [11 empty] | 342517 | 2146129 13725336 2146129 13725763 2146830 13725763 2146830 13725336 2146129 13725336
SecUGConductor | subtypecd = '4' | eeslu | [8 empty] | Currently EESLU is a solid line, Randy will be changing their line types to the standard
SecUGConductor | subtypecd = '2' | eesu3-1
SecUGConductor | subtypecd <> 6 | EESUDEFAULT |  |  |  |  | JED
SecUGConductorAnno | ANNO | ANNO |  | 0.75 of existing
SecUGConductorAnno | ANNO | ANNO |  | 0.75 of existing
StepDown | INSTALLATIONTYPE = 'OH' | eetxoh |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | JED
StepDown | INSTALLATIONTYPE = 'PAD' or INSTALLATIONTYPE = 'SUB' or INSTALLATIONTYPE = 'UG' | eetxug |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | JED | [6 empty] | 41 | 2133649 13800721 2133649 13800977 2134070 13800977 2134070 13800721 2133649 13800721
StepDown | Default | EETXDEFAULT |  |  |  |  | (dup)
StepDownAnno | ANNO | ANNO |  | 0.75 of existing
StepDownAnno | ANNO | ANNO |  | 0.75 of existing
StepDownAnno | ANNO | ANNO |  | 0.75 of existing
StepDownAnno | ANNO | ANNO |  | 0.75 of existing
StreetLight |  | eeslm |  |  | OBJECTID, GLOBALID, STREETLIGHTNUMBER |  | Yes | jed | 28292 | VR68 | Do not include this restriction: WEBR restricts to Wooden/Distribution. Definition query is: Status > 0 and (POLETYPE='CENTER BORE WOOD' OR POLETYPE='STANDARD WOOD') and POLEUSE='DISTRIBUTION' |  |  | 1 | 2090377 13701341 2090377 13701625 2090844 13701625 2090844 13701341 2090377 13701341
StreetLightAnno | ANNO | ANNO |  | 0.75 of existing
SubstationAnno | SUBSTATION | SUBSTATION
SUBStationBoundary | [5 empty] | SUBSTATIONNAME | [7 empty] | 108 | 2753849 12888574 2753849 12888906 2754394 12888906 2754394 12888574 2753849 12888574
SubsurfaceStructure | subtypecd = 5 | eessse |  |  | OBJECTID, GLOBALID, STRUCTURENUMBER |  | Yes |  | 134418 | X45 | *
SubsurfaceStructure | subtypecd = 2 | eeslbox |  |  | OBJECTID, GLOBALID, STRUCTURENUMBER |  | Yes
SubsurfaceStructure | subtypecd = 3 | eevault |  |  | OBJECTID, GLOBALID, STRUCTURENUMBER |  | Yes
SubsurfaceStructure | subtypecd = 7 | eepmsecenc |  |  | OBJECTID, GLOBALID, STRUCTURENUMBER |  | JED
SubsurfaceStructure | subtypecd = 6 | eepsse |  |  | OBJECTID, GLOBALID, STRUCTURENUMBER |  | JED |  | 112237 | X45 |  |  |  | 96 | 2216174 13729289 2216174 13729573 2216641 13729573 2216641 13729289 2216174 13729289
SubsurfaceStructure | Default | EESSDEFAULT |  |  |  |  | JED
SubsurfaceStructureAnno | anno | anno |  | 0.75 of existing
SubsurfaceStructureAnno | anno | anno |  | 0.75 of existing
SupportStructure | SYMBOLNUMBER = '71' | eepmtred |  | LABEL 0.75 of existing | OBJECTID, GLOBALID | Function FindLabel ([JPNUMBER], [JPSEQUENCE]) if len([JPNUMBER] & "s") = 1 then else jpseq = "" if len([JPSEQUENCE]) > 0 then jpseq = "-" & [JPSEQUENCE] end if FindLabel = "JP#" & [JPNUMBER] & jpseq end if End Function | Yes |  |  |  | Leave as is |  |  | 22 | 2209932 13737686 2209932 13737971 2210399 13737971 2210399 13737686 2209932 13737686
SupportStructure | SYMBOLNUMBER = '72' | eeslco |  | LABEL 0.75 of existing | OBJECTID, GLOBALID | Function FindLabel ([JPNUMBER], [JPSEQUENCE]) if len([JPNUMBER] & "s") = 1 then else jpseq = "" if len([JPSEQUENCE]) > 0 then jpseq = "-" & [JPSEQUENCE] end if FindLabel = "JP#" & [JPNUMBER] & jpseq end if End Function | Yes |  |  |  | Leave as is
SupportStructure | SYMBOLNUMBER = '73' | eesl |  | LABEL 0.75 of existing | OBJECTID, GLOBALID | Function FindLabel ([JPNUMBER], [JPSEQUENCE]) if len([JPNUMBER] & "s") = 1 then else jpseq = "" if len([JPSEQUENCE]) > 0 then jpseq = "-" & [JPSEQUENCE] end if FindLabel = "JP#" & [JPNUMBER] & jpseq end if End Function | Yes |  | 635162 | x45 | Leave as is |  |  | 741876 | DPD16
SupportStructure | SYMBOLNUMBER = '75' | eegs |  | LABEL 0.75 of existing | OBJECTID, GLOBALID | Function FindLabel ([JPNUMBER], [JPSEQUENCE]) if len([JPNUMBER] & "s") = 1 then else jpseq = "" if len([JPSEQUENCE]) > 0 then jpseq = "-" & [JPSEQUENCE] end if FindLabel = "JP#" & [JPNUMBER] & jpseq end if End Function | Yes
SupportStructure | SYMBOLNUMBER = '76' | eejgs |  | LABEL 0.75 of existing | OBJECTID, GLOBALID | Function FindLabel ([JPNUMBER], [JPSEQUENCE]) if len([JPNUMBER] & "s") = 1 then else jpseq = "" if len([JPSEQUENCE]) > 0 then jpseq = "-" & [JPSEQUENCE] end if FindLabel = "JP#" & [JPNUMBER] & jpseq end if End Function | Yes
SupportStructure | SYMBOLNUMBER = '77' | eep |  | LABEL 0.75 of existing | OBJECTID, GLOBALID | Function FindLabel ([JPNUMBER], [JPSEQUENCE]) if len([JPNUMBER] & "s") = 1 then else jpseq = "" if len([JPSEQUENCE]) > 0 then jpseq = "-" & [JPSEQUENCE] end if FindLabel = "JP#" & [JPNUMBER] & jpseq end if End Function | Yes | jed | 234475 | VR67 |  |  |  | 739102 | DPD16
SupportStructure | SYMBOLNUMBER = '78' | eepc |  | LABEL 0.75 of existing | OBJECTID, GLOBALID | Function FindLabel ([JPNUMBER], [JPSEQUENCE]) if len([JPNUMBER] & "s") = 1 then else jpseq = "" if len([JPSEQUENCE]) > 0 then jpseq = "-" & [JPSEQUENCE] end if FindLabel = "JP#" & [JPNUMBER] & jpseq end if End Function | Yes | jed | 259349 | VR68 |  |  |  | 738817 | DPD16
SupportStructure | SYMBOLNUMBER = '79' or SYMBOLNUMBER = '80' | eecp |  | LABEL 0.75 of existing | OBJECTID, GLOBALID | Function FindLabel ([JPNUMBER], [JPSEQUENCE]) if len([JPNUMBER] & "s") = 1 then else jpseq = "" if len([JPSEQUENCE]) > 0 then jpseq = "-" & [JPSEQUENCE] end if FindLabel = "JP#" & [JPNUMBER] & jpseq end if End Function | Yes
SupportStructure | SYMBOLNUMBER = '81' | eejp |  | LABEL 0.75 of existing | OBJECTID, GLOBALID | Function FindLabel ([JPNUMBER], [JPSEQUENCE]) if len([JPNUMBER] & "s") = 1 then else jpseq = "" if len([JPSEQUENCE]) > 0 then jpseq = "-" & [JPSEQUENCE] end if FindLabel = "JP#" & [JPNUMBER] & jpseq end if End Function | Yes | jed | 247695 | VR68 |  |  | jed | 188377 | DPD11
SupportStructure | SYMBOLNUMBER = '82' | eejpc |  | LABEL 0.75 of existing | OBJECTID, GLOBALID | Function FindLabel ([JPNUMBER], [JPSEQUENCE]) if len([JPNUMBER] & "s") = 1 then else jpseq = "" if len([JPSEQUENCE]) > 0 then jpseq = "-" & [JPSEQUENCE] end if FindLabel = "JP#" & [JPNUMBER] & jpseq end if End Function | Yes | jed | 236743 | VR64
SupportStructure | SYMBOLNUMBER = '83' | eejp3+ |  | LABEL 0.75 of existing | OBJECTID, GLOBALID | Function FindLabel ([JPNUMBER], [JPSEQUENCE]) if len([JPNUMBER] & "s") = 1 then else jpseq = "" if len([JPSEQUENCE]) > 0 then jpseq = "-" & [JPSEQUENCE] end if FindLabel = "JP#" & [JPNUMBER] & jpseq end if End Function | JED
SupportStructure | SYMBOLNUMBER = '84' | eepco |  | LABEL 0.75 of existing | OBJECTID, GLOBALID | Function FindLabel ([JPNUMBER], [JPSEQUENCE]) if len([JPNUMBER] & "s") = 1 then else jpseq = "" if len([JPSEQUENCE]) > 0 then jpseq = "-" & [JPSEQUENCE] end if FindLabel = "JP#" & [JPNUMBER] & jpseq end if End Function | Yes | jed | 197974 | VR68
SupportStructure | SYMBOLNUMBER = '85' | eetp |  | LABEL 0.75 of existing | OBJECTID, GLOBALID | Function FindLabel ([JPNUMBER], [JPSEQUENCE]) if len([JPNUMBER] & "s") = 1 then else jpseq = "" if len([JPSEQUENCE]) > 0 then jpseq = "-" & [JPSEQUENCE] end if FindLabel = "JP#" & [JPNUMBER] & jpseq end if End Function | Yes
SupportStructure | SYMBOLNUMBER = '86' | eetts |  | LABEL 0.75 of existing | OBJECTID, GLOBALID | Function FindLabel ([JPNUMBER], [JPSEQUENCE]) if len([JPNUMBER] & "s") = 1 then else jpseq = "" if len([JPSEQUENCE]) > 0 then jpseq = "-" & [JPSEQUENCE] end if FindLabel = "JP#" & [JPNUMBER] & jpseq end if End Function | Yes
SupportStructure | SYMBOLNUMBER = '87' | eetcc |  | LABEL 0.75 of existing | OBJECTID, GLOBALID | Function FindLabel ([JPNUMBER], [JPSEQUENCE]) if len([JPNUMBER] & "s") = 1 then else jpseq = "" if len([JPSEQUENCE]) > 0 then jpseq = "-" & [JPSEQUENCE] end if FindLabel = "JP#" & [JPNUMBER] & jpseq end if End Function | Yes
SupportStructure | SYMBOLNUMBER = '88' | eetpc |  | LABEL 0.75 of existing | OBJECTID, GLOBALID | Function FindLabel ([JPNUMBER], [JPSEQUENCE]) if len([JPNUMBER] & "s") = 1 then else jpseq = "" if len([JPSEQUENCE]) > 0 then jpseq = "-" & [JPSEQUENCE] end if FindLabel = "JP#" & [JPNUMBER] & jpseq end if End Function | Yes | jed | 809085 | VR57
SupportStructure | SYMBOLNUMBER = '89' | eejtp |  | LABEL 0.75 of existing | OBJECTID, GLOBALID | Function FindLabel ([JPNUMBER], [JPSEQUENCE]) if len([JPNUMBER] & "s") = 1 then else jpseq = "" if len([JPSEQUENCE]) > 0 then jpseq = "-" & [JPSEQUENCE] end if FindLabel = "JP#" & [JPNUMBER] & jpseq end if End Function | JED
SupportStructure | SYMBOLNUMBER = '90' | eejtpc |  | LABEL 0.75 of existing | OBJECTID, GLOBALID | Function FindLabel ([JPNUMBER], [JPSEQUENCE]) if len([JPNUMBER] & "s") = 1 then else jpseq = "" if len([JPSEQUENCE]) > 0 then jpseq = "-" & [JPSEQUENCE] end if FindLabel = "JP#" & [JPNUMBER] & jpseq end if End Function | JED
SupportStructure | SYMBOLNUMBER = '91' | eepb |  | LABEL 0.75 of existing | OBJECTID, GLOBALID | Function FindLabel ([JPNUMBER], [JPSEQUENCE]) if len([JPNUMBER] & "s") = 1 then else jpseq = "" if len([JPSEQUENCE]) > 0 then jpseq = "-" & [JPSEQUENCE] end if FindLabel = "JP#" & [JPNUMBER] & jpseq end if End Function | JED
SupportStructure | SYMBOLNUMBER = '92' | eejpb |  | LABEL 0.75 of existing | OBJECTID, GLOBALID | Function FindLabel ([JPNUMBER], [JPSEQUENCE]) if len([JPNUMBER] & "s") = 1 then else jpseq = "" if len([JPSEQUENCE]) > 0 then jpseq = "-" & [JPSEQUENCE] end if FindLabel = "JP#" & [JPNUMBER] & jpseq end if End Function | JED
SupportStructure | SYMBOLNUMBER = '93' | eett |  | LABEL 0.75 of existing | OBJECTID, GLOBALID | Function FindLabel ([JPNUMBER], [JPSEQUENCE]) if len([JPNUMBER] & "s") = 1 then else jpseq = "" if len([JPSEQUENCE]) > 0 then jpseq = "-" & [JPSEQUENCE] end if FindLabel = "JP#" & [JPNUMBER] & jpseq end if End Function | JED
SupportStructure | SYMBOLNUMBER = '94' | eetls |  | LABEL 0.75 of existing | OBJECTID, GLOBALID | Function FindLabel ([JPNUMBER], [JPSEQUENCE]) if len([JPNUMBER] & "s") = 1 then else jpseq = "" if len([JPSEQUENCE]) > 0 then jpseq = "-" & [JPSEQUENCE] end if FindLabel = "JP#" & [JPNUMBER] & jpseq end if End Function | JED
SupportStructure | SYMBOLNUMBER = '95' | eetc |  | LABEL 0.75 of existing | OBJECTID, GLOBALID | Function FindLabel ([JPNUMBER], [JPSEQUENCE]) if len([JPNUMBER] & "s") = 1 then else jpseq = "" if len([JPSEQUENCE]) > 0 then jpseq = "-" & [JPSEQUENCE] end if FindLabel = "JP#" & [JPNUMBER] & jpseq end if End Function | JED
SupportStructure | Default | EEPDEFAULT |  |  |  |  | JED | jed | 490889 | VR66
SupportStructureAnno | ANNO | ANNO |  | 0.75 of existing
SupportStructureAnno | ANNO | ANNO |  | 0.75 of existing
SupportStructureAnno | ANNO | ANNO |  | 0.75 of existing
SupportStructureAnno | ANNO | ANNO |  | 0.75 of existing
Switch | SYMBOLNUMBER = '18' | eedisc |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | JED | jed | 16690 | VR61
Switch | SYMBOLNUMBER = '20' | eediscoh |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | JED | [5 empty] | jed | 113105 | DPD11
Switch | SYMBOLNUMBER = '22' | eesw |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | JED | jed | 7774 | VR68 |  |  | jed | 5701 | DPD11
Switch | SYMBOLNUMBER = '23' | eeswsup |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | JED
Switch | SYMBOLNUMBER = '24' | eeswhb |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | JED |  | 10860 | SW29
Switch | SYMBOLNUMBER = '25' | eeswsb |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | JED | jed | 14376 | VR65 |  |  | jed | 14209 | DPD97
Switch | SYMBOLNUMBER = '26' | eeswah |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | JED
Switch | SYMBOLNUMBER = '27' | eeswqb |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | JED |  | 19826 | SW27
Switch | SYMBOLNUMBER = '28' | eeswdiscug |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | JED |  | 29514 | SW28
Switch | SYMBOLNUMBER = '29' | eediscugcpx |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | JED |  | 129602 | SW29
Switch | SYMBOLNUMBER = '30' | EECSW |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | YES |  | 33525 | SW30
Switch | SYMBOLNUMBER = '99' | eeswsupug |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | JED |  | 19734 | SW99
Switch | SYMBOLNUMBER = '100' | eeswsupugcpx |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | JED |  | 6054 | SW100
Switch | SYMBOLNUMBER = '31' | eeswugcpx |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | JED |  | 826 | SW31 |  |  |  | 10503 | 2812758 12845426 2812758 12845734 2813337 12845734 2813337 12845426 2812758 12845426
Switch | SYMBOLNUMBER = '33' | eescmsup |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | JED |  | 414 | SW33
Switch | Default | EESWDEFAULT |  |  |  |  | JED | jed | 12582 | VR65 |  |  | jed | 37679 | DPD13 | Doesn't match Arc symbol--OK
Switch | SYMBOLNUMBER=38 | EEGRNDSW | [8 empty] | LAYER: MAP-UGEQUIP
SwitchAnno | ANNO | ANNO |  | 0.75 of existing
SwitchAnno | ANNO | ANNO |  | 0.75 of existing
SwitchAnno | ANNO | ANNO |  | 0.75 of existing
Tie |  | eecondtie |  |  |  |  | JED | jed | 2232 | VR68 |  |  |  | 1 | 2150355 13721576 2150355 13721908 2150900 13721908 2150900 13721576 2150355 13721576 | Saw one in DPD117 that was on layer MAP-ELEC-UGEQUIP - but on an OH primary?
Transformer | SYMBOLNUMBER = '36' or SYMBOLNUMBER = '47' or SYMBOLNUMBER = 64 | eetxoh |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | Yes | jed | 128875 | VR68 | 13 |  | jed | 171818 | DPD17
Transformer | SYMBOLNUMBER = '37' | eetxoboh |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | Yes | jed | 127909 | VR68 | 13 |  | jed | 269159 | DPD13
Transformer | SYMBOLNUMBER = '38' or SYMBOLNUMBER = 66 | eetxcboh |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | Yes | jed | 207893 | X38
Transformer | SYMBOLNUMBER = '39' SYMBOLNUMBER = '42' or SYMBOLNUMBER = '43' or SYMBOLNUMBER = '48' or SYMBOLNUMBER = '54' or SYMBOLNUMBER = '55' | eetxug |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | Yes | jed | 241838 | X39 | 13 |  |  | 160370 | 2812758 12845426 2812758 12845734 2813337 12845734 2813337 12845426 2812758 12845426
Transformer | SYMBOLNUMBER = '40' or SYMBOLNUMBER = '41' or SYMBOLNUMBER = '44' or SYMBOLNUMBER=67 | eetxobug |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | Yes | jed | 215698 | X44 |  |  | jed | 53406 | DPD12
Transformer | SYMBOLNUMBER = '45' | eetxsub1int |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | Yes | jed | 184107 | X45
Transformer | SYMBOLNUMBER = '46' | eetxsub1auto |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | Yes |  | no feature
Transformer | SYMBOLNUMBER = '49' | eetxsubntwrkspot120208 |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | Yes |  | no feature
Transformer | SYMBOLNUMBER = '50' | eetxsubntwrkspot277480 |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | Yes |  | no feature
Transformer | SYMBOLNUMBER = '51' | eetxsubntwrk265460 |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | Yes |  | no feature
Transformer | SYMBOLNUMBER = '52' | eetxsubntwrk120004160 |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | Yes |  | no feature
Transformer | SYMBOLNUMBER = '53' | eetxsubntwrk340004160 |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | Yes |  | no feature
Transformer | SYMBOLNUMBER = '56' | eetxohoff1 |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | Yes |  | no feature |  | Distribution Overhead Transformer, Offset 1 Conductor. [Yoffset: 26] | CRE2 – 2-26-2015 - approved with the understanding that these facilities are not viewable in GIS nor extracted to DWG. (i.e., no proof of concept.) Therefore, when GIS is deployed to those areas where this Symbology is required and applied, this approval may be declined or changed. |  |  |  | Distribution Overhead Transformer, Offset 1 Conductor | Y Offset 26
Transformer | SYMBOLNUMBER = '57' | eetxobohoff1 |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER | [5 empty] | Distribution Overhead Transformer, Open Delta Bank, Offset 1 Conductor [Yoffset: 26] | CRE2 – 2-26-2015 - approved with the understanding that these facilities are not viewable in GIS nor extracted to DWG. (i.e., no proof of concept.) Therefore, when GIS is deployed to those areas where this Symbology is required and applied, this approval may be declined or changed. |  |  |  | Distribution Overhead Transformer, Open Delta Bank, Offset 1 Conductor | Y Offset 26
Transformer | SYMBOLNUMBER = '58' | eetxcbohoff1 |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER | [5 empty] | Distribution Overhead Transformer, Closed Delta Bank, Offset 1 Conductor [Yoffset: 26] | CRE2 – 2-26-2015 - approved with the understanding that these facilities are not viewable in GIS nor extracted to DWG. (i.e., no proof of concept.) Therefore, when GIS is deployed to those areas where this Symbology is required and applied, this approval may be declined or changed. |  |  |  | Distribution Overhead Transformer, Closed Delta Bank, Offset 1 Conductor | Y Offset 26
Transformer | SYMBOLNUMBER = '59' | eetxohoff2 |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER | [5 empty] | Distribution Overhead Transformer, Offset 2 Conductors [Yoffset: 39] | CRE2 – 2-26-2015 - approved with the understanding that these facilities are not viewable in GIS nor extracted to DWG. (i.e., no proof of concept.) Therefore, when GIS is deployed to those areas where this Symbology is required and applied, this approval may be declined or changed. |  |  |  | Distribution Overhead Transformer, Offset 2 Conductors | Y Offset 39
Transformer | SYMBOLNUMBER = '60' | eetxobohoff2 |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER | [5 empty] | Distribution Overhead Transformer, Open Delta Bank, Offset 2 Conductors [Yoffset: 39] | CRE2 – 2-26-2015 - approved with the understanding that these facilities are not viewable in GIS nor extracted to DWG. (i.e., no proof of concept.) Therefore, when GIS is deployed to those areas where this Symbology is required and applied, this approval may be declined or changed. |  |  |  | Distribution Overhead Transformer, Open Delta Bank, Offset 2 Conductors | Y Offset 39
Transformer | SYMBOLNUMBER = '61' | eetxcbohoff2 |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER | [5 empty] | Distribution Overhead Transformer, Closed Delta Bank, Offset 2 Conductors [Yoffset: 39] | CRE2 – 2-26-2015 - approved with the understanding that these facilities are not viewable in GIS nor extracted to DWG. (i.e., no proof of concept.) Therefore, when GIS is deployed to those areas where this Symbology is required and applied, this approval may be declined or changed. |  |  |  | Distribution Overhead Transformer, Closed Delta Bank, Offset 2 Conductors | Y Offset 39
Transformer | SYMBOLNUMBER = '62' | eetxugoff1 |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER | [5 empty] | Transformer, Equipment, Offset 1 Conductor [Yoffset: 26] | CRE2 – 2-26-2015 - approved with the understanding that these facilities are not viewable in GIS nor extracted to DWG. (i.e., no proof of concept.) Therefore, when GIS is deployed to those areas where this Symbology is required and applied, this approval may be declined or changed. |  |  |  | Transformer, Equipment, Offset 1 Conductor | Y Offset 26
Transformer | SYMBOLNUMBER = '63' | eetxugoff2 |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER | [5 empty] | Transformer, Equipment, Offset 2 Conductors [Yoffset: 39] | CRE2 – 2-26-2015 - approved with the understanding that these facilities are not viewable in GIS nor extracted to DWG. (i.e., no proof of concept.) Therefore, when GIS is deployed to those areas where this Symbology is required and applied, this approval may be declined or changed. |  |  |  | Transformer, Equipment, Offset 2 Conductors | Y Offset 39
Transformer | SYMBOLNUMBER = '64' | See eetxoh |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER | [5 empty] | Streetlight Transformer, Offset 1 Conductor [Yoffset: 13] | CRE2 – 2-26-2015 - approved with the understanding that these facilities are not viewable in GIS nor extracted to DWG. (i.e., no proof of concept.) Therefore, when GIS is deployed to those areas where this Symbology is required and applied, this approval may be declined or changed. |  |  |  | Streetlight Transformer, Offset 1 Conductor | Y Offset 13
Transformer | SYMBOLNUMBER = '65' | See eetxugoff1 |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER | [5 empty] | Streetlight Transformer, Offset 2 Conductors [Yoffset: 26] | CRE2 – 2-26-2015 - approved with the understanding that these facilities are not viewable in GIS nor extracted to DWG. (i.e., no proof of concept.) Therefore, when GIS is deployed to those areas where this Symbology is required and applied, this approval may be declined or changed. |  |  |  | Streetlight Transformer, Offset 2 Conductors | Y Offset 26
Transformer | SYMBOLNUMBER = '66' | See eetxcboh |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER | [5 empty] | Distribution Subsurface Transformer, Closed Delta Bank [Yoffset: 13] | CRE2 – 2-26-2015 - approved with the understanding that these facilities are not viewable in GIS nor extracted to DWG. (i.e., no proof of concept.) Therefore, when GIS is deployed to those areas where this Symbology is required and applied, this approval may be declined or changed. |  |  |  | Distribution Subsurface Transformer, Closed Delta Bank | Y Offset 26
Transformer | SYMBOLNUMBER = '67' | SEE eetxobug |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER | [5 empty] | Distribution Subsurface Transformer, Duplex Self Protected [Yoffset: 0] | CRE2 – 2-26-2015 - approved with the understanding that these facilities are not viewable in GIS nor extracted to DWG. (i.e., no proof of concept.) Therefore, when GIS is deployed to those areas where this Symbology is required and applied, this approval may be declined or changed. |  |  |  | Distribution Subsurface Transformer, Duplex Self Protected | Y Offset 13
Transformer | Default | EETXDEFAULT |  |  |  |  | Yes
TransformerAnno | ANNO | ANNO |  | 0.75 of existing
TransformerAnno | ANNO | ANNO |  | 0.75 of existing
TransformerAnno | ANNO | ANNO |  | 0.75 of existing
TransformerAnno | ANNO | ANNO |  | 0.75 of existing
TransformerAnno | ANNO | ANNO |  | 0.75 of existing
UFMAnchor | UFM | UFM
UFMFloor | UFM | UFM
UFMWall | UFM | UFM
UGElectricSplice | UFM | UFM
UGElectricSplice | UFM | UFM
UGElectricSplice | UFM | UFM
ULSPriUGConductorAnno | ANNO | ANNO
UndergroundNetwork_Junctions | UFM | UFM
VaultPoly |  | eevaultply |  |  | OBJECTID, GLOBALID | [8 empty] | 1 | 2579342 13354886 2579342 13355218 2579887 13355218 2579887 13354886 2579342 13354886
VoltageRegulator | SYMBOLNUMBER = '57' | eeregbioh |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | Yes | jed | 3104 |  |  |  |  | 3104 | 2647364 13327489 2647364 13327821 2647909 13327821 2647909 13327489 2647364 13327489
VoltageRegulator | SYMBOLNUMBER = '58' | eereglfoh |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | Yes | jed | 827
VoltageRegulator | SYMBOLNUMBER = '59' | eeregrtoh |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | Yes | jed | 826
VoltageRegulator | SYMBOLNUMBER = '60' | eeregbipad |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | Yes | jed | 3065
VoltageRegulator | SYMBOLNUMBER = '61' | eereglfpad |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | Yes | jed | 1024
VoltageRegulator | SYMBOLNUMBER = '62' | eeregrtpad |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | Yes |  | no feature
VoltageRegulator | SYMBOLNUMBER = '63' | eebbnklf |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | Yes | jed | 2386
VoltageRegulator | SYMBOLNUMBER = '64' | eebbnkrt |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | Yes | jed | 228
VoltageRegulator | SYMBOLNUMBER = '65' | eebbnk2lf |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | Yes | jed | 437
VoltageRegulator | SYMBOLNUMBER = '66' | eebbnk2rt |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | Yes | jed | 263 |  | WRONG SYMBOL - was mapped to EEBBNKRT -fixed
VoltageRegulator | SYMBOLNUMBER = '67' | eeautobi |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | Yes | jed | 328
VoltageRegulator | SYMBOLNUMBER = '68' | eeauto2bi |  |  | OBJECTID, GLOBALID, OPERATINGNUMBER |  | Yes | jed | 280
VoltageRegulator | SYMBOLNUMBER = '56' | EERG | [8 empty] | Booster/Overhead Regulator Use Existing from Randy-- Rename to EERG
VoltageRegulator | Default | EEVRDEFAULT |  |  |  |  | Yes | jed | 322
VoltageRegulatorAnno | ANNO | ANNO |  | 0.75 of existing
VoltageRegulatorAnno | ANNO | ANNO |  | 0.75 of existing
VoltageRegulatorAnno | ANNO | ANNO |  | 0.75 of existing
WipCloud
New Symbols at this version
Modified Symbols at this version
Deleted Symbols at this version
Note on B34: Peaslee, Don: Added DeviceGroupType = '17' and SUBTYPECD = '3' (at the end)

## eder-layers
FeatureClass | Attributes | Layer Existing | Layer Proposed
AnchorGuy |  | MAP-ELEC-POLES
Antenna |  | MAP-ELEC-OHEQUIP
CapacitorBank | INSTALLATIONTYPE = 'OH' | MAP-ELEC-OHEQUIP
CapacitorBank | INSTALLATIONTYPE <> 'OH' | MAP-ELEC-UGEQUIP
CapacitorBankAnno | CapacitorBank.INSTALLATIONTYPE = 'OH' | MAP-ELEC-OHEQUIP
CapacitorBankAnno | CapacitorBank.INSTALLATIONTYPE <> 'OH' | MAP-ELEC-UGEQUIP
CommunicationConnector | NEED TO CHECK WITH ROBERT
CommunicationSplice | NEED TO CHECK WITH ROBERT
ConduitSystem | hold for now based on conversation with Robert | MAP-ELEC-CONDUIT
ConduitSystem | DeactivatedIDC='Y' | MAP-ELEC-CONDUIT-DEACT
ConduitSystemAnno | hold for now based on conversation with Robert | MAP-ELEC-CONDUIT
CrossSectionAnno | hold for now based on conversation with Robert
CustAgreeNumberAnno | CustAgreeNumberAnno(0) | MAP-LAND-MLX-SPECFAC
CustomerAgreementNumber | CustomerAgreementNumber(0) | MAP-LAND-MLX-SPECFAC
DCConductor | Construction Type = 4 | MAP-ELEC-DCOHSECONDARY
DCConductor | Construction Type = 6 | MAP-ELEC-DCOHSERVICE
DCConductor | Construction Type = 5 | MAP-ELEC-DCUGSECONDARY
DCConductor | Construction Type = 7 | MAP-ELEC-DCUGSERVICE
DCConductor | Default | MAP-ELEC-DEFAULT
DCRectifier | INSTALLATIONTYPE = 'OH' | MAP-ELEC-OHEQUIP
DCRectifier | INSTALLATIONTYPE <> 'OH' | MAP-ELEC-UGEQUIP
DCRectifierAnno | DCRectifier.INSTALLATIONTYPE = 'OH' | MAP-ELEC-OHEQUIP
DCRectifierAnno | DCRectifier.INSTALLATIONTYPE <> 'OH' | MAP-ELEC-UGEQUIP
DeviceGroup | SUBTYPECD = 2 and DEVICEGROUPTYPE in (1,2) | MAP-ELEC-SUBSTRUCTURES-MSK
DeviceGroup | SUBTYPECD = 2 and DEVICEGROUPTYPE in (3,4,5,6,7,8,9,10,11,12,13,14,15,16,17,18,19,20,21,22,23,24,25,26,27,28,29,30,31,32) | MAP-ELEC-SUBSTRUCTURES-NOTMSK
DeviceGroup | SUBTYPECD = 3 and DEVICEGROUPTYPE in (16, 17, 19, 20, 22) | MAP-ELEC-PADMOUNT-MSK
DeviceGroup | SUBTYPECD = 3 and DEVICEGROUPTYPE in (1,2,3,4,5,6,7,8,9,10,11,12,13,14,15,18,21,23,24,25,26,27,28,29,30,31,32,33,34,35,36,37,38,39,40,41,42,43,44,45,46,47) | MAP-ELEC-PADMOUNT-NOTMSK
DeviceGroup | Default | MAP-ELEC-DEFAULT
DeviceGroupAnno | DeviceGroup.subtypecd = 1 | MAP-ELEC-POLES
DeviceGroupAnno | DeviceGroup.subtypecd = 2 | MAP-ELEC-SUBSTRUCTURES
DeviceGroupAnno | DeviceGroup.subtypecd = 3 | MAP-ELEC-PADMOUNT
DeviceGroupAnno | Default | MAP-ELEC-DEFAULT
DistBusBar | Pri Dist Bus Bar(1) | MAP-ELEC-UGPRIMARY
DistBusBar | Sec Dist Bus Bar(2) | MAP-ELEC-UGSECONDARY
DistBusBar | Default | MAP-ELEC-DEFAULT
Duct | hold for now based on conversation with Robert
DuctBank | hold for now based on conversation with Robert
DuctConnector | hold for now based on conversation with Robert
DynamicProtectiveDevice | INSTALLATIONTYPE = 'OH' | MAP-ELEC-OHEQUIP
DynamicProtectiveDevice | INSTALLATIONTYPE <> 'OH' | MAP-ELEC-UGEQUIP
DynamicProtectiveDeviceAnno | DynamicProtectiveDevice.INSTALLATIONTYPE = 'OH' | MAP-ELEC-OHEQUIP
DynamicProtectiveDeviceAnno | DynamicProtectiveDevice.INSTALLATIONTYPE <> 'OH' | MAP-ELEC-UGEQUIP
ElectricConnector | hold for now based on conversation with Robert
ElectricStitchPoint | Load(1) | MAP-ELEC-SUBSTATIONS
FailedEquipment | not in GIS
FaultIndicator |  | MAP-ELEC-OHPRIMARY
FaultIndicatorAnno |  | MAP-ELEC-OHPRIMARY
FaultLocation | not in GIS
FEATURENOTE | FEATURENOTE(0) | MAP-ELEC-MISC
Fuse | subtypecd = 1 | MAP-ELEC-OHEQUIP
Fuse | subtypecd = 2 | MAP-ELEC-UGEQUIP
Fuse | Default | MAP-ELEC-DEFAULT
FuseAnno | Fuse.subtypecd = 1 | MAP-ELEC-OHEQUIP
FuseAnno | Fuse.subtypecd = 2 | MAP-ELEC-UGEQUIP
FuseAnno | Default | MAP-ELEC-DEFAULT
JobHistoryNote |  | MAP-ELEC-MISC
JobNumberAnno |  | MAP-ELEC-MISC
NeutralConductor | subtypecd = 1 | MAP-ELEC-OHNEUT
NeutralConductor | subtypecd = 2 | MAP-ELEC-UGNEUT
NeutralConductor | Default | MAP-ELEC-DEFAULT
NeutralConductorAnno | NeutralConductor.subtypecd = 1 | MAP-ELEC-OHNEUT
NeutralConductorAnno | NeutralConductor.subtypecd = 2 | MAP-ELEC-UGNEUT
NeutralConductorAnno | Default | MAP-ELEC-DEFAULT
OpenPoint | INSTALLATIONTYPE = 'OH' | MAP-ELEC-OHEQUIP
OpenPoint | INSTALLATIONTYPE <> 'OH' | MAP-ELEC-UGEQUIP
Outage | not in GIS
PadmountStructure |  | MAP-ELEC-PADMOUNT
PrimaryGeneration |  | MAP-ELEC-OHSERVICE
PrimaryGenerationAnno |  | MAP-ELEC-OHSERVICE
PrimaryMeter |  | MAP-ELEC-OHTRANSFORMERS
PrimaryRiser |  | MAP-ELEC-UGPRIMARY
PriOHConductor |  | MAP-ELEC-OHPRIMARY
PriOHConductorAnno |  | MAP-ELEC-OHPRIMARY
PriUGConductor |  | MAP-ELEC-UGPRIMARY
PriUGConductorAnno |  | MAP-ELEC-UGPRIMARY
SecOHConductor |  | MAP-ELEC-OHSERVICE
SecOHConductorAnno |  | MAP-ELEC-OHSERVICE
SecondaryGeneration |  | MAP-ELEC-OHSERVICE
SecondaryGenerationAnno |  | MAP-ELEC-OHSERVICE
SecondaryLoadPoint |  | MAP-ELEC-OHTRANSFORMERS
SecondaryRiser |  | MAP-ELEC-UGSECONDARY
SecUGConductor |  | MAP-ELEC-UGSERVICE
SecUGConductorAnno |  | MAP-ELEC-UGSERVICE
StepDown | INSTALLATIONTYPE = 'OH' | MAP-ELEC-OHTRANSFORMERS
StepDown | INSTALLATIONTYPE <> 'OH' | MAP-ELEC-UGTRANSFORMERS
StepDownAnno | StepDown.INSTALLATIONTYPE = 'OH' | MAP-ELEC-OHTRANSFORMERS
StepDownAnno | StepDown.INSTALLATIONTYPE <> 'OH' | MAP-ELEC-UGTRANSFORMERS
StreetLight | SERVICETYPE = 'OH' | MAP-ELEC-OHSTLIGHT
StreetLight | SERVICETYPE <> 'OH' | MAP-ELEC-UGSTLIGHT
StreetLightAnno | StreetLight.SERVICETYPE = 'OH' | MAP-ELEC-OHSTLIGHT
StreetLightAnno | StreetLight.SERVICETYPE <> 'OH' | MAP-ELEC-UGSTLIGHT
SUBStationBoundary |  | MAP-ELEC-SUBSTATIONS
SubsurfaceStructure |  | MAP-ELEC-SUBSTRUCTURES
SubsurfaceStructureAnno |  | MAP-ELEC-SUBSTRUCTURES
SupportStructure | SYMBOLNUMBER = '71' or SYMBOLNUMBER = '72' or SYMBOLNUMBER = '73' | MAP-ELEC-UGSTLIGHT
SupportStructure | SYMBOLNUMBER = '75' or SYMBOLNUMBER = '76' or SYMBOLNUMBER = '77' or SYMBOLNUMBER = '78' or SYMBOLNUMBER = '79' or SYMBOLNUMBER = '80' or SYMBOLNUMBER = '81' or SYMBOLNUMBER = '82' or SYMBOLNUMBER = '83' or SYMBOLNUMBER = '84' or SYMBOLNUMBER = '85' or SYMBOLNUMBER = '88' or SYMBOLNUMBER = '89' or SYMBOLNUMBER = '90' or SYMBOLNUMBER = '91' or SYMBOLNUMBER = '92' or SYMBOLNUMBER = '95' | MAP-ELEC-POLES
SupportStructure | SYMBOLNUMBER = '86' or SYMBOLNUMBER = '87' or SYMBOLNUMBER = '93' or SYMBOLNUMBER = '94' | MAP-ELEC-TRANSMISSION
SupportStructure | Default | MAP-ELEC-DEFAULT
SupportStructureAnno | SupportStructure.SYMBOLNUMBER = '71' or SupportStructure.SYMBOLNUMBER = '72' or SupportStructure.SYMBOLNUMBER = '73' | MAP-ELEC-UGSTLIGHT
SupportStructureAnno | SupportStructure.SYMBOLNUMBER = '75' or SupportStructure.SYMBOLNUMBER = '76' or SupportStructure.SYMBOLNUMBER = '77' or SupportStructure.SYMBOLNUMBER = '78' or SupportStructure.SYMBOLNUMBER = '79' or SupportStructure.SYMBOLNUMBER = '80' or SupportStructure.SYMBOLNUMBER = '81' or SupportStructure.SYMBOLNUMBER = '82' or SupportStructure.SYMBOLNUMBER = '83' or SupportStructure.SYMBOLNUMBER = '84' or SupportStructure.SYMBOLNUMBER = '85' or SupportStructure.SYMBOLNUMBER = '88' or SupportStructure.SYMBOLNUMBER = '89' or SupportStructure.SYMBOLNUMBER = '90' or SupportStructure.SYMBOLNUMBER = '91' or SupportStructure.SYMBOLNUMBER = '92' or SupportStructure.SYMBOLNUMBER = '95' | MAP-ELEC-POLES
SupportStructureAnno | SupportStructure.SYMBOLNUMBER = '86' or SupportStructure.SYMBOLNUMBER = '87' or SupportStructure.SYMBOLNUMBER = '93' or SupportStructure.SYMBOLNUMBER = '94' | MAP-ELEC-TRANSMISSION
SupportStructureAnno | Default | MAP-ELEC-DEFAULT
Switch | INSTALLATIONTYPE = 'OH' | MAP-ELEC-OHEQUIP
Switch | INSTALLATIONTYPE <> 'OH' | MAP-ELEC-UGEQUIP
SwitchAnno | Switch.INSTALLATIONTYPE = 'OH' | MAP-ELEC-OHEQUIP
SwitchAnno | Switch.INSTALLATIONTYPE <> 'OH' | MAP-ELEC-UGEQUIP
Tie | INSTALLATIONTYPE = 'OH' | MAP-ELEC-OHEQUIP
Tie | INSTALLATIONTYPE <> 'OH' | MAP-ELEC-UGEQUIP
Transformer | INSTALLATIONTYPE = 'OH' | MAP-ELEC-OHTRANSFORMERS
Transformer | INSTALLATIONTYPE <> 'OH' | MAP-ELEC-UGTRANSFORMERS
TransformerAnno | Transformer.INSTALLATIONTYPE = 'OH' | MAP-ELEC-OHTRANSFORMERS
TransformerAnno | Transformer.INSTALLATIONTYPE <> 'OH' | MAP-ELEC-UGTRANSFORMERS
UFMAnchor | hold for now based on conversation with Robert
UFMFloor | hold for now based on conversation with Robert
UFMWall | hold for now based on conversation with Robert
UGElectricSplice | hold for now based on conversation with Robert
UGElectricSplice | hold for now based on conversation with Robert
UGElectricSplice | hold for now based on conversation with Robert
ULSPriUGConductorAnno | hold for now based on conversation with Robert
UndergroundNetwork_Junctions | hold for now based on conversation with Robert
VaultPoly |  | MAP-ELEC-SUBSTRUCTURES
VoltageRegulator | INSTALLATIONTYPE = 'OH' | MAP-ELEC-OHEQUIP
VoltageRegulator | INSTALLATIONTYPE <> 'OH' | MAP-ELEC-UGEQUIP
VoltageRegulatorAnno | VoltageRegulator.INSTALLATIONTYPE = 'OH' | MAP-ELEC-OHEQUIP
VoltageRegulatorAnno | VoltageRegulator.INSTALLATIONTYPE <> 'OH' | MAP-ELEC-UGEQUIP
WipCloud | Pending

## landbase-symbols
FeatureClass | Attributes | Symbol (linestyle or block) | Symbol Picture | Attributes | LabelAttributes
Building |  | ELBUILD
BuildingLine |  | ELBUILD
PGE_RightofWay |  | ELROW
parcels |  | ELLF
PGE_StreetNameAnno |  | ANNO
PGE_AddressAnno |  | ANNO
railways |  | ELRR
landnoteanno |  | ANNO
WaterP |  | ELEOWS |  | Name | Name
WaterSeg |  | ELEOWS |  | Name | Name

## landbase-layers
FeatureClass | Subtype(Code) | Attributes | Layer Existing | Layer Proposed
Building |  |  | MAP-LAND-GENERAL
BuildingLine |  |  | MAP-LAND-GENERAL
PGE_RightofWay |  |  | MAP-LAND-GENERAL
parcels |  |  | MAP-LAND-GENERAL
PGE_StreetNameAnno |  |  | MAP-LAND-STREETNAMES
PGE_AddressAnno |  |  | MAP-ELEC-ADDRESSES
railways |  |  | MAP-LAND-GENERAL
landnoteanno |  |  | MAP-LAND-GENERAL
WaterP |  |  | MAP-LAND-GENERAL
WaterSeg |  |  | MAP-LAND-GENERAL

## ACAD Layer Order
MAP-ELEC-ADDRESSES | 1
MAP-LAND-STREETNAMES | 2
MAP-ELEC-POLES | 3
MAP-ELEC-TRANSMISSION | 4
MAP-ELEC-UGSTLIGHT | 5
MAP-ELEC-UGEQUIP | 6
MAP-ELEC-UGTRANSFORMERS | 7
MAP-ELEC-OHEQUIP | 8
MAP-ELEC-OHTRANSFORMERS | 9
MAP-ELEC-UGPRIMARY | 10
MAP-ELEC-UGSECONDARY | 11
MAP-ELEC-UGSERVICE | 12
MAP-ELEC-OHPRIMARY | 13
MAP-ELEC-OHSERVICE | 14
MAP-ELEC-UGNEUT | 15
MAP-ELEC-OHNEUT | 16
MAP-ELEC-OHSTLIGHT | 17
MAP-ELEC-DCUGSECONDARY | 18
MAP-ELEC-DCUGSERVICE | 19
MAP-ELEC-DCOHSECONDARY | 20
MAP-ELEC-DCOHSERVICE | 21
MAP-ELEC-MISC | 22
MAP-LAND-MLX-SPECFAC | 23
MAP-LAND-GENERAL | 24
MAP-ELEC-SUBSTRUCTURES | 25
MAP-ELEC-PADMOUNT | 26
MAP-ELEC-SUBSTATIONS | 27
LAYER |  | LAYER
Defpoints |  | MAP-COMMON-REMOVE
EST-COMMON-REMOVE |  | MAP-COMMON-STAMP
EST-COMMON-STAMP |  | MAP-ELEC-COORDS
EST-COMMON-STAMP36x52 TX Pad |  | MAP-ELEC-EESSVSW
EST-COMMON-STAMPS |  | MAP-ELEC-NETWORK
EST-ELEC-EXIST-DOH |  | MAP-ELEC-OHEQUIP
EST-ELEC-EXIST-DUG |  | MAP-ELEC-OHPRIMARY
EST-ELEC-EXIST-MTR |  | MAP-ELEC-OHSERVICE
EST-ELEC-EXIST-SLOH |  | MAP-ELEC-OHSTLIGHT
EST-ELEC-EXIST-SLUG |  | MAP-ELEC-OHTRANSFORMERS
EST-ELEC-EXIST-TOH |  | MAP-ELEC-POLES
EST-ELEC-SKLOC |  | MAP-ELEC-STREETLIGHTS
EST-ELEC-STAMP |  | MAP-ELEC-SUBSTATIONS
EST-ELEC-TBLOCK |  | MAP-ELEC-SUBSTRUCTURES
EST-ELECT-CUT-AG-ICE |  | MAP-ELEC-TRANSMISSION
EST-ELECT-CUT-PoleExtension |  | MAP-ELEC-UGEQUIP
EST-ELECT-CUT-Service |  | MAP-ELEC-UGPRIMARY
EST-ELECT-CUT-Subdivision |  | MAP-ELEC-UGSECONDARY
EST-ELECT-CUT-Subdivision-Feeder |  | MAP-ELEC-UGSERVICE
EST-ELECT-CUT-Subdivision-Protective Devices |  | MAP-ELEC-UGSTLIGHT
EST-ELECT-EXIST-DOH |  | MAP-ELEC-UGTRANSFORMERS
EST-ELECT-EXIST-TOH |  | MAP-ELEC-XGTRNLOC
EST-ELECT-INST-TOH |  | MAP-ELEC-XWLDSTMP
EST-ELECT-STAMPS |  | MAP-LAND-FEATURES
EST-LAND-FEATURES |  | MAP-LAND-GENERAL
EST-TELCOM-INST-DOH |  | MAP-LAND-MILEMARKER
EST-UTIL-EXIST-BOXES |  | MAP-LAND-MLX-SPECFAC
EST-UTIL-EXIST-CABLE |  | MAP-LAND-STANDARD-GRID
EST-UTIL-EXIST-DOH |  | MAP-UTIL-BOXES
EST-UTIL-EXIST-EQUIP |  | MAP-UTIL-CABLE
EST-UTIL-EXIST-FIRE |  | MAP-UTIL-DOH
EST-UTIL-EXIST-TELEPHONE |  | MAP-UTIL-EXIST-EQUIP
EST-UTIL-INST-BOXES |  | MAP-UTIL-FIRE
EST-UTIL-INST-CABLE |  | MAP-UTIL-TELEPHONE
EST-UTIL-INST-DOH |  | NONE
EST-UTIL-INST-EQUIP
EST-UTIL-INST-FIRE
EST-UTIL-INST-TELEPHONE

## landbase-GISSymbols
FeatureClass | Attributes | Symbol (linestyle or block) | Symbol Picture | True Mapping | Attributes | LabelAttributes
ForeignElecUtility | EUCTV-1 | EUCTV-1
ForeignElecUtility | EUELEC-1 | EUELEC-1
ForeignElecUtility | EUGAS-1 | EUGAS-1
ForeignElecUtility | EUSWR-1 | EUSWR-1
ForeignElecUtility | EUSD-1 | EUSD-1
ForeignElecUtility | EUTEL-1 | EUTEL-1
ForeignElecUtility | EUWATER-1 | EUWATER-1
ForeignElecUtility | EUFIBER-1 | EUFIBER-1
ElecServiceTerritory |  | ELSERVB
ElecDivision |  | ELDIVB
ElecRegion
ElecMCDistricts |  | ELDISTB
ElecCorrosionArea
ElecSummerTempZone
ElecSnowloadingArea
ElecClimateZone
GasDistPlats
LotLines
exits
cities |  | ELCITYB
citylim
counties
landcover
landuseareas
maneuvers
mdc
poi
postcode
postdist
railways |  | ELRR
signposts
state
stborder
tmcpathlocindex
waterp |  | ELWATERPLY
waterseg |  | ELWATERL
island
streets_ca
parcels |  | ELPARCELPLY
City
ProtectedLand
ConservationEasement
ZipCode
CountyClipped
CountyUnClipped |  | ELCOUNTYPLY
TAX_CODE_AREA_utm10ft
AccessRoad |  | ELACCESSRD
LandNote |  | ELLANDNOTE
LandNoteAnno |  | ANNO
Building |  | ELBUILDINGPLY
BuildingLine |  | ELBUILDINGL
BuildingNameAnno |  | ANNO
CorporateProperty |  | ELCORPPROP
Levee
PGE_EasementNote
PGE_RightofWay |  | ELROW
PGE_RWNote
PGE_Address
PGE_AddressAnno |  | ANNO
PGE_StreetName
PGE_StreetNameAnno |  | ANNO
PVT_Road
PGE_Easement
GridCorner
GridIndex
MaintenancePlat
MapGrid
OverheadInsulationDistrict
PGE_LOPC
plat_unified
Schematics_Unified_Grid
ServiceArea |  | elservb-elecply
ServiceTerritory
County
District
Division

## landbase-GISlayers
FeatureClass | Subtype(Code) | Attributes | Layer Existing | Layer Proposed
Cable TV |  | UTILITYTYPE=1 | MAP-UTIL-CABLETV
Electric |  | UTILITYTYPE=2 | MAP-UTIL-ELEC
Gas |  | UTILITYTYPE=3 | MAP-UTIL-GAS
Sewer |  | UTILITYTYPE=4 | MAP-UTIL-COMMON
Storm |  | UTILITYTYPE=5 | MAP-UTIL-COMMON
Telephone |  | UTILITYTYPE=6 | MAP-UTIL-TELEPHONE
Water |  | UTILITYTYPE=7 | MAP-UTIL-WATER
FiberOptic |  | UTILITYTYPE=8 | MAP-UTIL-FIBER
ElecServiceTerritory |  |  | MAP-LAND-POLITICAL-BOUNDARIES
ElecDivision |  |  | MAP-LAND-POLITICAL-BOUNDARIES
ElecRegion
ElecMCDistricts |  |  | MAP-LAND-POLITICAL-BOUNDARIES
ElecCorrosionArea
ElecSummerTempZone
ElecSnowloadingArea
ElecClimateZone
GasDistPlats
LotLines
exits
cities |  |  | MAP-LAND-POLITICAL-BOUNDARIES
citylim
counties
landcover
landuseareas
maneuvers
mdc
poi
postcode
postdist
railways |  |  | MAP-LAND-GENERAL
signposts
state
stborder
tmcpathlocindex
waterp |  |  | MAP-LAND-GENERAL
waterseg |  |  | MAP-LAND-GENERAL
island
streets_ca
parcels |  |  | MAP-LAND-GENERAL
City
ProtectedLand
ConservationEasement
ZipCode
CountyClipped
CountyUnClipped |  |  | MAP-LAND-POLITICAL-BOUNDARIES
TAX_CODE_AREA_utm10ft
AccessRoad |  |  | MAP-LAND-GENERAL
LandNote |  |  | MAP-LAND-GENERAL
LandNoteAnno |  |  | MAP-LAND-GENERAL
Building |  |  | MAP-LAND-GENERAL
BuildingLine |  |  | MAP-LAND-GENERAL
BuildingNameAnno |  |  | MAP-LAND-GENERAL
CorporateProperty |  |  | MAP-LAND-GENERAL
Levee
PGE_EasementNote
PGE_RightofWay |  |  | MAP-LAND-GENERAL
PGE_RWNote
PGE_Address
PGE_AddressAnno |  |  | MAP-ELEC-ADDRESSES
PGE_StreetName
PGE_StreetNameAnno |  |  | MAP-LAND-STREETNAMES
PVT_Road
PGE_Easement
ForeignUtility |  |  | MAP-LAND-GENERAL
GridCorner
GridIndex
MaintenancePlat
MapGrid
OverheadInsulationDistrict
PGE_LOPC
plat_unified
Schematics_Unified_Grid
ServiceArea |  |  | MAP-LAND-GENERAL
ServiceTerritory
SummerTempDistrict
County
District
Division
Building |  |  | MAP-LAND-GENERAL
BuildingLine |  |  | MAP-LAND-GENERAL
PGE_RightofWay |  |  | MAP-LAND-GENERAL
parcels |  |  | MAP-LAND-GENERAL
PGE_StreetNameAnno |  |  | MAP-LAND-STREETNAMES
PGE_AddressAnno |  |  | MAP-ELEC-ADDRESSES
railways |  |  | MAP-LAND-GENERAL
landnoteanno |  |  | MAP-LAND-GENERAL
WaterP |  |  | MAP-LAND-GENERAL
WaterSeg |  |  | MAP-LAND-GENERAL

## V1.1 Attr Order
EECAPSUPOH
EECAPDEFAULT
eedg162
eedg216
eedg218
eedg220
eedg222
eedg226
eedg228
eedg232
eedg69-21_5
eedg69_2
EEDGDEFAULT
EESSINT
EESSINTSUP
EERC
EERC
EERCSUP
EERCSUP
EERC
EERCSUP
EERCCPX
EECSWSUP
EESWSUPFLSR
eescmsecsup
eesub
eeohfi
eefeatnote
eefuugcpx
EEFUDEFAULT
eeopterm
ee600optee
eelimit
eebgen
eecgen
eegen
eepm
eeriser
EESGDEFAULT
eeseclp
eeslm
eessse
eeslbox
eevault
EESSDEFAULT
eejp3+
eejtp
eepb
eetls